## BESS Calculator
BESS & Hybrid Systems Quote Calculator (USD)
Inputs: |  | Outputs: |  | Legend: | Helper
Power Requirement (MW) | ____ | Total Energy (MWh) | #VALUE! | Yellow = Inputs | TotalEnergy_MWh | #VALUE!
Standby Time (hrs) | ____ | PCS Size (kW) | #VALUE! | Pink = Totals/Key Outputs | PCS_kW | #VALUE!
Voltage | ____ | Estimated CapEx ($, incl. Hybrid) | #VALUE! |  | BatterySubtotal_£ | #VALUE!
Grid Mode (On/Off) | ____ | Estimated ROI (yrs) | #VALUE! |  | PCSSubtotal_£ | #VALUE!
Use Case | ____ |  |  |  | Subtotal_£ | #VALUE!
Certifications | ____ |  |  |  | BOS_£ | #VALUE!
Utilization (0–1) | 0.25 |  |  |  | EPC_£ | #VALUE!
Value of Energy (£/kWh) | 0.25 |  |  |  | TotalCapEx_£ | #VALUE!
Generator Power (MW) | 0 |  |  |  | AnnualSavings_£ | #VALUE!
Solar Power (MWp) | 0 |  |  |  | ROI_years | #VALUE!
Wind Power (MW) | 0 |  |  |  | GeneratorSubtotal_$ | 0
[5 empty] | SolarSubtotal_$ | 0
[5 empty] | WindSubtotal_$ | 0
[5 empty] | HybridTotal_$ | #VALUE!

## Assumptions
Parameter | Value
Battery cost ($/kWh) | 150
PCS cost ($/kW) | 120
BOS % of Subtotal | 0.15
EPC % of Subtotal | 0.25
Off-grid PCS factor | 1.1
On-grid PCS factor | 1
Generator cost ($/kW) | 500
Solar cost ($/kWp) | 800
Wind cost ($/kW) | 1200

## Formulas
Cell | Meaning | Formula | Notes
I4 | Total Energy (MWh) | #VALUE! | Power (MW) × Hours
I5 | PCS Size (kW) | #VALUE! | Power (MW) × 1000 × grid-mode factor
I6 | Battery Subtotal ($) | 0 | $/kWh × MWh × 1000
I7 | PCS Subtotal ($) | 0 | $/kW × PCS kW
I8 | Subtotal ($) | 0 | Battery + PCS
I9 | BOS ($) | 0 | Subtotal × BOS %
I10 | EPC ($) | 0 | Subtotal × EPC %
I11 | Total CapEx (BESS) ($) | 0 | Subtotal + BOS + EPC
I12 | Annual Savings ($) | #VALUE! | MWh × 1000 × value/kWh × utilization × 365
I13 | ROI (years) |  | Total CapEx ÷ Annual Savings
I14 | Generator Subtotal ($) | #VALUE! | MW × 1000 × $/kW
I15 | Solar Subtotal ($) | #VALUE! | MWp × 1000 × $/kWp
I16 | Wind Subtotal ($) | #VALUE! | MW × 1000 × $/kW
I17 | Total CapEx (Incl. Hybrid) ($) | 0 | BESS Total + Generator + Solar + Wind
E4 | Output Link: Total Energy (MWh) | 0 | Displays I4
E5 | Output Link: PCS Size (kW) | 0 | Displays I5
E6 | Output Link: Estimated CapEx ($) | 0 | Displays I17
E7 | Output Link: ROI (years) | 0 | Displays I13

## Export
Export to Word (Macro-Enabled)
Path to Word Template (.docx) | C:\documents\noah energy\Customer Quotes\BESS_Quote_Template.docx
Output Folder for Proposals | C:\documents\noah energy\Customer Quotes\
Click the Macro Button (after import)
Instructions
1) Save this workbook as a macro-enabled file (*.xlsm): File → Save As → Excel Macro-Enabled Workbook. 2) Open the VBA editor (Alt+F11). In Project, right-click the workbook → Import File… and select 'ExportToWord.bas'. 3) In Excel, go to Developer → Insert → Button (Form Control), draw it on this sheet, and assign macro: ExportToWord. 4) Update the template path and output folder in cells B3 and B4. 5) Click the button to generate a Word proposal using the template.